## Slide 1: NOAA Integrated Cal/Val System (ICVS) for Radio Occultation Performance Monitoring and Data Quality Assurance
Xinjia Zhou1,2, Shu-peng Ben Ho1, Changyong Cao1
NOAA STAR;
GST, Inc.

## Slide 2: Operational GNSS-RO for NOAA NWP
Currently ~2000 daily RO profiles are available for NWP operations
  Declining number of profiles from COSMIC1
  Metop A/B/C, ~1200 daily
  KOMPSAT-5, ~150 daily
  TDX/TSX, ~ 300 daily
Several RO missions is on the way
  COSMIC2, ~ 4000 profiles daily, not yet used
  PAZ, ~200 daily, not yet used
  CWDP, not yet used
  GRACE-FO, not yet used
TDX/TSX
Kompsat5
Metop-A/B/C
COSMIC

## Slide 3: GNSS-RO key role recognition
GNSS radio occultation (RO) has been recognized as a key observable for Numerical Weather Prediction (NWP) and climate change detection.
It has matured to become an important, sustained component of NOAA satellite observations and contributor to NWP, complementing microwave and infrared sounding measurements.

## Slide 4: New era for GNSS-RO
The successful launch of FORMOSAT-7/COSMIC-2 marks a new era of RO for operational NWP, which will have profound impacts on all activities related to atmospheric sounding.
NOAA is strengthening support for COSMIC2, recognizing its significance, transiting GNSS RO from research to operations for weather forecast.
COSMIC2, together with Metop/Meotop SG, is expected to become an on-orbit reference for atmospheric sounding, establishing consistency for all measurements.
It is important to ensure the consistency, accuracy, precision of the measurements with well understood uncertainties. NOAA ICVS system is critical important for the purpose.
October 1, 2019
COSMIC2

## Slide 5: NOAA ICVS: Background
NOAA ICVS system is a well known near real-time performance monitoring for all NOAA environmental satellites and instruments
Near real time and long term instrument status, performance monitoring, and anomaly diagnosis
Near real time and long term level 1 data product quality monitoring
Provide real time support for sensor calibration activities
Provide rapid and preliminary estimate of satellite data impact in NWP applications
Ensure the integrity of the climate data records from all satellite instruments

## Slide 6: NOAA ICVS: Extension
Monitoring RO product parameters and instrument performance at all levels.
Routine comparison of atmospheric profiles with other satellite observations and retrievals including microwave, and infrared.
Routine comparison of profiles with those from Radiosondes.
Dynamic web interface with many capabilities.
Long-term monitoring of the parameters.
GNSS RO ICVS is a natural extension of the NOAA ICVS system, with more dynamic and interactive capabilities. The system includes:
WebGL Earth interactive plots

## Slide 7
Currently, RO data from 12 publicly available missions are included, from GPSMET collected in 1995 to COSMIC2 data in 2019.
RO data producer: UCAR, ROMSAF, ROPP and STAR (under testing).
References: Weather Model, reanalysis, other RO data, Radiosonde
NOAA ICVS for RO: Introduction

## Slide 8
Working online
  NCEP/GFS/GDAS
  Model reanalysis, era/merra/nra/jra
Working offline, will eventually transit online
  GNSS-RO inter-comparison
  Radiosonde
  Retrievals: MiRS/NUCAPS
  MW sounder: ATMS/AMSU-A
  IR sounder: CrIS/AIRS/IASI
NOAA ICVS for RO: References

## Slide 9
NOAA ICVS for RO: Model comparison
Get a big picture of RO behavior.
Help users to locate suspicious profiles quickly, and easily deep dive to find the source.
Brown line before 2019-03-31 is from ROM SAF CDR, after 2019-03-31 is from ROM SAF NRT;
Green line is from GDAS.
Mean bias
STD
ROM SAF processed MetopA w.r.t. ERA5

## Slide 10
By sorting the title of each columns, uses is capable to find the interesting individual profiles and display the whole profile.

## Slide 11
Individual profiles are monitored for L1b (excess phase, signal to noise ratio) and L2 (bending angle, refractivity, dry temperature, temperature, water vapor pressure, pressure).
Bending angle
Refractivity
Temperature
Excess phase (L1/LS)
Signal to noise ratio (L1/L2)
Map

## Slide 12
Colocation RO inter-comparison cross platform
One-to-one RO inter-comparison cross center
NOAA ICVS for RO: RO inter-comparison
Fractional refractivity diff
UCAR KOMPSAT5 vs. UCAR COSMIC
Temperature diff
Specific Humidity diff

## Slide 13
There are over 15 radiosonde instrument types.
Vaisala RS80 and RS92 used to be the reliable reference.
Staring from 2018, Vaisala RS41 exceed RS80/92.
NOAA ICVS for RO: RAOB comparison
RAOB distribution in Jan 2020

## Slide 14
NOAA ICVS for RO: RAOB comparison
UCAR COSMIC2 vs. Vaisala RS41
Temperature differences
Specific Humidity differences

## Slide 15
NOAA ICVS for RO: RAOB comparison

## Slide 16
NOAA ICVS for RO: MW comparison against RO
Bias between ATMS and RO are routinely monitored; anomalies are investigated
Algorithm change

## Slide 17
NOAA ICVS for RO: MW comparison using RO for double difference
SNPP/NOAA-20 ATMS CH10 BT bias relative to RO simulated
CH 10 BT double difference (NOAA20-SNPP)
NOAA-20/ATMS early orbit bias due to calibration issues
Use RO-CRTM for double differencing to study biases between ATMS on SNPP and NOAA-20

## Slide 18: Summary
NOAA STAR has developed a comprehensive integrated cal/val system (ICVS) to ensure the data quality of all NOAA satellite measurements, including Radio Occultation, for which COSMIC2 will play an important role in many areas.
This web-based system supports instrument performance monitoring, inter-comparisons with other independent measurements, and data assimilation in collaboration with data users.
Radio occultation is becoming increasingly important for numerical weather prediction, which requires similar level of support as for microwave and infrared sounding instruments.
The next step is to develop low level processing capabilities & incorporate it in ICVS (Level 0/RDR->Level 1/SDR->Level 2/EDR) to support full chain processing validation.
We are committed to support ICVS for our community users and partners. Ongoing development and improvements are based on user’s needs and feedback

## Slide 19
Thanks to the COSMIC2 team for the hard work, including NSPO, UCAR, NOAA/NESDIS/OPPA, NOAA/NESDIS/STAR, JCSDA, USAF, and others
Thanks to EUMETSAT, ROM SAF for collaboration and technical assistance
Special thanks to Rich Ullman of NOAA/NESDIS/OPPA for initiating the COSMIC2 cal/val project at STAR
Acknowledgements